## Annex-1 Application Form
APPLICATION FOR EMPANELMENT OF SYSTEM INTEGRATORS FOR COMMUNITY CCTV SYSTEM PROJECT
Annexure-1
PLEASE READ "INSTRUCTIONS TO APPLICANT" BEFORE FILLING THE APPLICATION
Note: All fields in this form are mandatory except * marked optional. If mandatory fields are not filled or any tampering the application format, the applicantion will be rejected.
Organisation Name (Registered Office Name)
| Year of Establishment (MM-YYYY) | [7 empty] | -
Office Registered Address
(Tick the check box for business communication)
|  | City | [20 empty] | Pin Code
State
Single Point of Contact
Designation
Email
|  | Phone | [13 empty] | Fax No.
|  | Mobile 1 | [13 empty] | Mobile 2*
Local Office (in Telangana)
| Year of Establishment (MM-YYYY) | [7 empty] | -
Local Address
(Tick the check box for business communication)
|  | City | [20 empty] | Pin Code
State
Single Point of Contact
Designation
|  | Phone | [13 empty] | Fax No.
|  | Mobile 1 | [13 empty] | Mobile 2*
Nominee for Pre-Bid Meeting
Designation
|  | Phone | [13 empty] | Fax No.
|  | Mobile 1 | [13 empty] | Mobile 2*
| No. of Offices Pan India | [9 empty] | No. of Offices in Pan Telangana
| No. of Offices in GHMC Limits | [9 empty] | No. of Service Centers Pan Telangana
| Service Centers in Telanga Districts (Pl. Tick) | [5 empty] | Adilabad |  |  | Karimnagar |  | Khammam |  | Mahabub nagar |  |  | Medak |  |  | Nalgonda |  |  | Nizamabad |  |  | Warangal |  | Ranga Reddy
| Total Staff Pan India | [9 empty] | Total Staff Pan Telangana | [11 empty] | * Provide the employee list of technical staff with their joining date & past experience with the bidder organization. Mark with astrick (*) in the employee list who will be involved full time in Community CCTV Projects.
| No. of Tech Staff Pan Telangana | [9 empty] | * No. of Tech. Staff in GHMC Limits
COMPANY RELATED DOCUMENTARY PROOFS
|  |  | # | DOCUMENTS | [5 empty] | DOCUMENT REFERENCE NO1 |  |  |  | DOC. VALIDITY DATE |  |  |  | PAGE NOS2 |  |  |  | REMARKS
|  |  | 1 | Company Registration (Incorporation)
|  |  | 2 | Firm PAN No.
|  |  | 3 | Sales Tax Details
|  |  | 4 | Service Tax Details
|  |  | 5 | TAN No.
|  |  | 6 | Director-1 PAN No.
|  |  | 7 | Director-2 PAN No.
|  |  | 8 | Bank Account details
|  |  | 9 | Consortium Agreement
|  |  | NOTE: |  | 1 | Documentory Proof submitted
[5 empty] | 2 | Submitted documentory proof photocopies with every page numbered and provided the page nos in the above column clearly marked where neccessary
COMPANY TURNOVER DETAILS
|  |  | # | FINANCIAL YEAR |  |  |  | TOTAL TURNOVER (INR, LACS)1 |  |  | PAGE NOS2 |  |  | CCTV VERTICAL BUSINESS TURNOVER3 |  |  |  | PAGE NOS2 |  |  |  | REMARKS
|  |  | 1 | 2014-15
|  |  | 2 | 2013-14
|  |  | 3 | 2012-13
|  |  | 4 | Solvency Certificate 4
|  |  | NOTE: |  | 1 | Total turnover based on audited balance sheet, P&L statements; Turnover includes Analogue & IP based CCTV Surveillance systems & other security projects related revenues certified by the charted accountant
[5 empty] | 2 | Submitted documentory proof photocopies with every page numbered and provided the page nos in the above column clearly marked where neccessary
[5 empty] | 3 | Revenue from exclusive Analogue & IP based CCTV Surveillance business. CA certified statements and affidavit from the company as revenue proof in case the turnover is not shown seperately in financial books
[5 empty] | 4 | Latest Solvency Certificate from Bank dated not before June-2015.
NEW CCTV SYSTEM INSTALLATIONS DURING THE PERIOD
|  |  | # | FINANCIAL YEAR |  |  |  | ANALOGUE CAMERAS | [6 empty] | IP BASED HD CAMERAS | [8 empty] | REMARKS
[8 empty] | # OF SITES |  | # OF CAMERAS |  | PAGE NOS1 |  |  | # OF SITES |  | # OF CAMERAS |  |  | PAGE NOS1
|  |  | 1 | 2014-15
|  |  | 2 | 2013-14
|  |  | 3 | 2012-13
|  |  | NOTE: |  | 1 | Documentory proofs submitted should be numbered and provided page numbers in the Application
SUPPORT & MAINTENANCE OF EXISTING CCTV SYSTEM INSTALLATIONS DURING THE PERIOD
|  |  | # | FINANCIAL YEAR |  |  |  | ANALOGUE CAMERAS | [6 empty] | IP BASED HD CAMERAS | [8 empty] | REMARKS
[8 empty] | # OF SITES |  | # OF CAMERAS |  | PAGE NOS1 |  |  | # OF SITES |  | # OF CAMERAS |  |  | PAGE NOS1
|  |  | 1 | 2014-15
|  |  | 2 | 2013-14
|  |  | 3 | 2012-13
|  |  | NOTE: |  | 1 | Documentory proofs submitted should be numbered and provided page numbers in the Application
TOP 5 PROJECTS EXECUTED DETAILS
|  |  | # | PROJECT IMPLEMENTATION DETAILS | [7 empty] | 1 | 2 |  | 3 |  | 4 |  | 5 |  | REMARKS
|  |  | 1 | Project Details |  |  |  | Site Name (PO Ref. No)
Documentory Proofs Page Nos.
|  |  | 2 | Each Order Value (INR Lacs)
|  |  | 3 | IN-Premises/OUTside Premises Implementation - IN / OUT
|  |  | 4 | No. of Analogue Cameras
|  |  | 5 | No. of IP Cameras
|  |  | 6 | Extent of Area covered (Sq. Km)
|  |  | 7 | No. of License VMS Implemented (Mention OEM Make & No. of License)
|  |  | 8 | Type of storage system implemented
|  |  | 9 | Average Storage space per site (in TB)
CERTIFICATIONS AND AWARDS
|  |  | # | DESCRIPTION | [7 empty] | CERTIFYING AUTHORITY |  |  |  |  | CERTIFICATION NO. | [5 empty] | VALID FROM |  |  | VALID TO
1
2
3
4
PROVIDE PREFERENCES FOR POLICE STATION JURISDICTION AREAS FOR IMPLEMENTATION1
|  |  | # | PS CODE2 |  |  | POLICE STATION NAME | [12 empty] | PREFERENCES |  |  | REMARKS
1
2
3
4
5
|  |  | Note: |  | 1 | Bidder preference to focus in the areas for CCTV implementation upon empanelled
[5 empty] | 2 | Please refer to Police Stations list in Annexure-4
PROVIDE POST-SALES SERVICE SLA FOR RESOLUTION
|  |  | # | SEVERITY |  |  |  |  | SEVERITY DEFINITION | [9 empty] | RESPONSE (HRS) |  |  | RESOLUTION (HRS) |  |  | REMARKS
|  |  | 1 | Critical |  |  |  |  | Complete System is down; no recording & live access
|  |  | 2 | High |  |  |  |  | Partial system down; critical functions are working through workaround |  |  |  | <= 2 Hrs |  |  | <= 4 Hrs
|  |  | 3 | Medium |  |  |  |  | Partial System down but not critical |  |  |  | <= 1 day |  |  | <= 2 days
|  |  | 4 | Low |  |  |  |  | Minimum impact on the system |  |  |  | <= 1 Week |  |  | <= Month
I certify that the above information is correct to best of my knowledge.
Name of Respondant
Designation
Date
E-mail
Mobile Number
Signature & Stamp
FOR OFFICE USE
Registration No
Registration Date
Evaluated By
Signature & Stamp

## Annex-2 Self Certification
COMMUNITY CCTV PROJECT
BIDDER SELF CERTIFICATION OF THE PROPOSAL
| Bidder's Name: |  | Date :
# | PRE-QUALIFICATION CRITERIA | DOCUMENTARY PROOF TO BE SUBMITTED | SUBMITTED (Yes / No) | REMARKS
1 | The Bidder (Prime Bidder in case of consortium maximum of two parties) must be a registered company in India with a competent authority. The bidder should be operating in Integrated Security Solution domain and completed minimum 3 years as on last financial year ending March 31, 2015. The bidder must have experience of minimum 3 years in implementing CCTV System (Analogue and IP based high definition CCTV system) for various clients as on March, 2015. | · Copy of Company Incorporation Certification issued by Competent Authority
· Copy of documents supports the revenue from CCTV business.
· Copy of Consortium Agreement in case of consortium involved with Prime Bidder should be a minimum of 51% stake. (Original document should be shown at the time of empanelment meeting)
2 | The Bidder should have average turnover of Rs. 1 Cr. (Rupees Three Crores) from CCTV Surveillance (Analogue & IP based HD) business in the last/previous 3 financial years as on last financial year ending 31st March, 2015. (i.e, FY 2012-13; 2013-14 and 2014-15) The Bidder must have total revenue generated from IP based high definition CCTV System implementation (1.0 megapixel & above) as: · Financial year 2013-14 : 10% of average turnover of Rs. 1 Cr. · Financial year 2014-15 : 25% of average turnover of Rs. 1 Cr. | · Copy of audited Balance Sheet for each of the last/previous 3 financial years as on financial year ending 31st Mar, 2015 reflecting CCTV System for combined Analogue & IP and separately for IP CCTV system.
· Copy of audited Profit & Loss statements for each of the last 3 years as on 31st Mar, 2015
· Certified by the Charted Accountant reflecting the total CCTV System and IP based CCTV system revenue each year with photocopy of Invoices reflecting the revenues.
3 | The bidder should have a positive net-worth of minimum Rs. 10 lakhs as on financial year ending 31st Mar, 2015 | · Copy of audited Balance Sheet financial years ending as on 31st Mar, 2015.
· Certificate from the Charted Accountant
4 | The bidder should submit valid documentary proof of Sales Tax, VAT, TIN, firm PAN, and Service Tax registration numbers where applicable | · Copy of PAN Card
· Copy of Sales Tax / VAT / TIN / Firm PAN/ Service Tax registration
5 | The bidder should provide name and address of the bankers with solvency certification not older than six months. | · Copy of Bank Account details
· Latest solvency certification from Bank not older than six months
6 | The bidder must have executed CCTV System projects where minimum 200 cameras (Analogue & IP based) were installed either through outright purchase or on subscription/rented model in the last 3 years as on March, 2015. In case of subscription/rental model, the system is running for at least 6 months as on June, 2015. The Bidder must have installed the IP based high definition CCTV System implementation (1.0 megapixel & above) as: · Financial year 2013-14: 10% of the total cameras installed · Financial year 2014-15: 25% of the total cameras installed | · Copy of Project completion & satisfactorily handed over certificate from each client
· Photocopy of Purchase Orders and related Invoices where Make & Model Numbers are mentioned.
· In case of Subscription/Rented model, the bidder should submit the order copy and invoices of payments from the client.
7 | The size of the order value per year should be having at least (projects completed from FY 2012-13 onwards) · One similar work with order value not less than Rs. 50 Lacs (OR) · Two similar works with order value not less than Rs. 35 Lacs each (OR) · Three similar works with order value not less than 25 Lacs each. | · Copy of Invoices reflecting the CCTV revenue for both Analog & IP (as applicable) supported by copy of the order value and invoices per each of the installation should be submitted with make and model no. mentioned in the documents.
8 | The bidder must have executed multiple comprehensive AMC sites minimum 75 IP based HD cameras as part of CCTV System in the last 2 financial years ending March 31, 2015 with an AMC value not less than Rs. 15 Lac per year | · Copy of Client satisfactory & completion certification for each completed site.
· Copy of current status & service satisfaction from the client on the on-going projects.
· Copy of the order value and invoices per each of the installation should be submitted.
9 | The bidder should have its own office and full-fledged service setup in Hyderabad & Cyberabad City limits with minimum 3 technical personnel in implementation and at least 5 technical personnel for co-warranty & post-warranty support & maintenance of CCTV system. The average longevity of technical personnel with the company should not be less than 2 years and at least 50% of the team should have experience more than 2 years. | · Copy of documentary proof of their employment to be submitted along with Bank Account details of their account opening date and their salary transactions.
· Any other documentary proofs of their employment with the company such as HR letter on company letter head with bidder undertaking certified by the notary.
10 | The bidder should have back-to-back support from OEMs for various equipment / component, IT hardware, Video Storage solutions & Video Management software for five years | · Original Manufacturing Authorization Form (MAF) should be submitted stating that OEM is ready to support their equipment / items providing technical & spares support during 5-year warranty period.
11 | The bidder would provide 5-years comprehensive warranty on the CCTV system components marked in Annexure-5 Technical Specs. | · Bidder should provide an undertaking on their company letter head that the full ownership of the system will be given. The same note should be certified by notary.
| DATE : |  | BIDDER'S SIGNATURE WITH SEAL

## Annex-3 Projects Executed
| WORK ORDER DETAILS FOR CCTV PROJECTS EXECUTED | [6 empty] | ANNEXURE - 2
S No | Name of work & Location | Client Details (Name, Address & Contact No) | Work Order Ref. No & Date | Work Order Amount | Stipulated Date of Completion | Actual Date of completion | Work Status (Completed, In Progress, Unfinished) | Any other Information
NOTE:

## Annex-4 AMC Project Details
| WORK ORDER DETAILS FOR CCTV AMC PROJECTS | [7 empty] | ANNEXURE - 3
S No | Name of the Project | Client Details (Name, Address & Contact No) | AMC Work Order Ref. No & Date | AMC Work Order Amount (INR/Per Annum) | AMC Date of Commencement | AMC End date of Contract | Total No. of Cameras per site | No. of IP based Cameras Per Site | Any other Information

## Annex-5 Camera Specs
| CAMERA SPECIFICATIONS |  | Annexure - 5
ITEM PARAMETERS | IP FIXED BULLET CAMERA WITH MOTORIZED VARI-FOCAL | IP FIXED BULLET CAMERA WITHOUT MOTORIZED VARI-FOCAL LENSE | IP PTZ DOME CAMERA WITH SD MEMORY SLOT
INTERNAL ITEM CODE | CAMF001 | CAMF003 | CAMP001
Image Sensor | 1/2.8" or 1/3" Progress scan CMOS sensor in 1920 x 1080 resolution (2 mega pixel); S/N Ratio : ≥50 db (AGC Off) | 1/2.8" or 1/3" Progress scan CMOS sensor in 1920 x 1080 resolution (2 mega pixel); S/N Ratio : ≥50 db (AGC Off) | 1/2.8" or 1/3" Progress scan CMOS sensor in 1920 x 1080 resolution (2 mega pixel); S/N Ratio : ≥50 db (AGC Off)
Lens | * Motorized Vari-focal & pixel zoom; * Zoom Range - 4.2x Vari-focal * Digital Zoom - 10x * f = 2.8 to 12mm, F1.2 (wide), F2.1 (tele), auto-iris * Video output BNC, PAL/NTSC | f = 2.8 to 12mm, F1.2 (wide), F2.1 (tele), auto-iris Video output BNC, PAL/NTSC | * f = 4.0 to 120mm, Optical wide-tele * Optical Zoom : 30x * Digital Zoom : 16x * Pan : 360o C endless; Pan Speed : 0.1o to 160o / sec. * Tilt : -15o to 90o; Tilt Speed : 0.1o to 120o / sec. * Presets : Up to 255; Preset Speed : Pan-240o/sec. ; Tilt-200o/sec. * Privacy Masking : up to 24 areas * Auto focus : Auto / Semi-Auto / Manual
Shutter Time | 1/5s to 1/25,000s | 1/5s to 1/25,000s | 1/5s to 1/25,000s
Min. illumination | 0.08 Lux @ F1.2 (Color) 0.001 Lux @ F1.2 (B/W) | 0.08 Lux @ F1.2 (Color) 0.001 Lux @ F1.2 (B/W) | 0.08 Lux @ F1.2 (Color) 0.001 Lux @ F1.2 (B/W)
IR Illuminators | Built-in IR illuminators, effective min. 30 meters | Built-in IR illuminators, effective min. 30 meters | Built-in IR illuminators, effective min. 100 meters; Day/Night IR Cut filter
Compression | H.264 v3 high profile coding; MJPEG; & MPEG-4 | H.264 v3 high profile coding; MJPEG; & MPEG-4 | H.264 v3 high profile coding; MJPEG; & MPEG-4
Multiple Simultaneous Streaming | Dual Streaming: (Supports all streams at full frame rate) H.264 streaming over UDP, TCP, HTTP or HTTPS MPEG-4 streaming over UDP, TCP, HTTP or HTTPS MJPEG streaming over HTTP or HTTPS H.264 / MPEG-4 multicast streaming Supports activity adaptive streaming for dynamic frame rate control Supports video cropping for bandwidth saving Supports Constant Bit rate (CBR) / Variable bit rate (VBR) | Dual Streaming: (Supports all streams at full frame rate) H.264 streaming over UDP, TCP, HTTP or HTTPS MPEG-4 streaming over UDP, TCP, HTTP or HTTPS MJPEG streaming over HTTP or HTTPS H.264 / MPEG-4 multicast streaming Supports activity adaptive streaming for dynamic frame rate control Supports video cropping for bandwidth saving Supports Constant Bit rate (CBR) / Variable bit rate (VBR) | Dual Streaming: (Supports all streams at full frame rate) H.264 streaming over UDP, TCP, HTTP or HTTPS MPEG-4 streaming over UDP, TCP, HTTP or HTTPS MJPEG streaming over HTTP or HTTPS H.264 / MPEG-4 multicast streaming Supports activity adaptive streaming for dynamic frame rate control Supports video cropping for bandwidth saving Supports Constant Bit rate (CBR) / Variable bit rate (VBR)
| Frame rates: H.264 - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080 MPEG4 - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080 MJPEG - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080 | Frame rates: H.264 - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080 MPEG4 - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080 MJPEG - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080 | Frame rates: H.264 - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080 MPEG4 - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080 MJPEG - Up to 30 fps @ 1280 x 720; Up to 30 fps @ 1920 x 1080
On-board Storage | Supply with SD/SDHC/SDXC Memory Slot up to 32 GB Class 10 48/80 Mbp/s memory card Stores snapshots and video clips | Supply with SD/SDHC/SDXC Memory Slot up to 32 GB Class 10 48/80 Mbp/s memory card Stores snapshots and video clips | Supply with SD/SDHC/SDXC Memory Slot up to 32 GB Class 10 48/80 Mbp/s memory card Stores snapshots and video clips
Image Settings | * Adjustable image size, quality & bit rate * Time stamp and text caption overlay * Flip & mirror * Configurable brightness, contrast, saturation, sharpness, white balance & exposure, shutter speed & motion detection windows * AGC, AWB, AES * WDR enhanced * Automatic, manual & scheduled day / night mode Backlight Compensation (BLC) * Configurable privacy mask zones | * Adjustable image size, quality & bit rate * Time stamp and text caption overlay * Flip & mirror * Configurable brightness, contrast, saturation, sharpness, white balance & exposure, shutter speed & motion detection windows * AGC, AWB, AES * WDR enhanced * Automatic, manual & scheduled day / night mode Backlight Compensation (BLC) * Configurable privacy mask zones | * Configurable up to 8 tours; up to 32 pre-sets per tour * Adjustable image size, quality & bit rate * Time stamp and text caption overlay * Flip & mirror * Configurable brightness, contrast, saturation, sharpness, white balance & exposure, shutter speed & motion detection windows * AGC, AWB, AES * WDR enhanced * Automatic, manual & scheduled day / night mode Backlight Compensation (BLC) * Configurable privacy mask zones
Audio | Compression: * G.711 / G.726 audio encoding, bit rate: 64 kbps, µ-Law or A-Law mode selectable * GSM-AMR speech encoding, bit rate: 4.75 kbps to 12.2 kbps * MPEG-4 AAC audio encoding, bit rate: 16 kbps to 128 kbps Interface: * Exteneral microphone input * Audio output * Supports two-way audio (bi-directional) & audio mute | Compression: * G.711 / G.726 audio encoding, bit rate: 64 kbps, µ-Law or A-Law mode selectable * GSM-AMR speech encoding, bit rate: 4.75 kbps to 12.2 kbps * MPEG-4 AAC audio encoding, bit rate: 16 kbps to 128 kbps Interface: * Exteneral microphone input * Audio output * Supports two-way audio (bi-directional) & audio mute | Compression: * G.711 / G.726 audio encoding, bit rate: 64 kbps, µ-Law or A-Law mode selectable * GSM-AMR speech encoding, bit rate: 4.75 kbps to 12.2 kbps * MPEG-4 AAC audio encoding, bit rate: 16 kbps to 128 kbps Interface: * Exteneral microphone input * Audio output * Supports two-way audio (bi-directional) & audio mute
Networking | * 10/100 Mbps Ethernet, IEEE802.3af PoE (RJ-45) * Protocols: IPv4, IPv6, TCP/IP, HTTP, HTTPS, UPnP, RTSP/RTP/RTCP, IGMP, SMTP, FTP, DHCP, NTP, DNS, DDNS, PPPoE, CoS, QoS, SNMP, Samba, multicast, IP filtering, & 802.1x * ONVIF compliant / support | * 10/100 Mbps Ethernet, IEEE802.3af PoE (RJ-45) * Protocols: IPv4, IPv6, TCP/IP, HTTP, HTTPS, UPnP, RTSP/RTP/RTCP, IGMP, SMTP, FTP, DHCP, NTP, DNS, DDNS, PPPoE, CoS, QoS, SNMP, Samba, multicast, IP filtering, & 802.1x * ONVIF compliant / support | * 10/100 Mbps Ethernet, IEEE802.3af PoE (RJ-45) * Protocols: IPv4, IPv6, TCP/IP, HTTP, HTTPS, UPnP, RTSP/RTP/RTCP, IGMP, SMTP, FTP, DHCP, NTP, DNS, DDNS, PPPoE, CoS, QoS, SNMP, Samba, multicast, IP filtering, & 802.1x * ONVIF compliant / support
Security | * Administrator and user group protection * Multi-level user access with password authentication * HTTP & RTSP digest encryption * 802.1x port-based authentication for network protection | * Administrator and user group protection * Multi-level user access with password authentication * HTTP & RTSP digest encryption * 802.1x port-based authentication for network protection | * Administrator and user group protection * Multi-level user access with password authentication * HTTP & RTSP digest encryption * 802.1x port-based authentication for network protection
Event Management | * Live simultaneous viewing for up to 10 clients * Triple-window video motion detection * Tamper Detection * I/O for external sensor and alarm * Event notification using HTTP, SMTP or FTP * Uploading of snapshots / video clips through email or FTP * Supports multiple SMTP & FTP Servers * Multiple event notifications | * Live simultaneous viewing for up to 10 clients * Triple-window video motion detection * Tamper Detection * I/O for external sensor and alarm * Event notification using HTTP, SMTP or FTP * Uploading of snapshots / video clips through email or FTP * Supports multiple SMTP & FTP Servers * Multiple event notifications | * Live simultaneous viewing for up to 10 clients * Triple-window video motion detection * Tamper Detection * I/O for external sensor and alarm * Event notification using HTTP, SMTP or FTP * Uploading of snapshots / video clips through email or FTP * Supports multiple SMTP & FTP Servers * Multiple event notifications
Viewing System Requirements | * Windows 7/Vista/XP System * Andriod & IOS mobile devices; Pocket PCs * All popular browsers | * Windows 7/Vista/XP System * Andriod & IOS mobile devices; Pocket PCs * All popular browsers | * Windows 7/Vista/XP System * Andriod & IOS mobile devices; Pocket PCs * All popular browsers
Temperature | Operating Temperature : - 10o C to +50o C Storage Temperature : - 10o C to +70o C Humidity : 95% or less (non-condensing) | Operating Temperature : - 10o C to +50o C Storage Temperature : - 10o C to +70o C Humidity : 95% or less (non-condensing) | Operating Temperature : - 10o C to +50o C Storage Temperature : - 10o C to +70o C Humidity : 95% or less (non-condensing)
Power | * 12V DC; 24V AC * Power consumption : Max. 9.6 W * 802.3af compliant Power-over-Ethernet (PoE) Class 3 | * 12V DC; 24V AC * Power consumption : Max. 9.6 W * 802.3af compliant Power-over-Ethernet (PoE) Class 3 | * 12V DC; 24V AC * Power consumption : Max. 9.6 W * 802.3af compliant Power-over-Ethernet (PoE) Class 3
Housing & Accessories | * IP-66 / IP67 compliant weatherproof housing * Mounting bracket with cable concealment | * IP-66 / IP67 compliant weatherproof housing * Mounting bracket with cable concealment | * IP-66 / IP67 compliant weatherproof housing * Mounting bracket with cable concealment
Software/Applications | * SDK for application development & system integration * Supports firmware upgrade | * SDK for application development & system integration * Supports firmware upgrade | * SDK for application development & system integration * Supports firmware upgrade
Certification | UL, CE, EN, EMC & RoHS | UL, CE, EN, EMC & RoHS | UL, CE, EN, EMC & RoHS
AMC Item | Yes | Yes | Yes
Warranty | 60 months | 60 months | 60 months

## Annex-5a Component Specs
COMPONENT SPECIFICATIONS |  |  |  |  | Annexure - 5a
S No | ITEM CODE | ITEM NAME | ITEM SHORT DESCRIPTION | AMC ITEM | ITEM SPECIFICATIONS
1 | NR16001 | 16 CHANNEL NVR | 16-CH NVR | Yes | 16ch 1080P IP cameras inputs; Supports recording at Full Resolution & high quality at highest bit rate for all channels at a time; Should support Multicast; H.264 Version 3/MJPEG dual codec decoding ; 1/1ch Mic in/out;4ch sync realtime playback; HDMI,VGA output up to 1080p,1 BNC output; 16ch alarm in & 4ch relay out,RS485 ; 8 SATA Extendable to min. 4 SATA and each support up to 4 TB, 2 USB,RJ45(1000M) ; Power - AC220V/110V/ATX ; Main Processor Dual-core embedded processor; Operating System Embedded LINUX; Video & Audio; IP Camera Input 16 channel; Two-way Talk 1 channel Input, 1 channel Output ; Display Interface 1 HDMI, 1 VGA, 1TV; Resolution 1920×1080, 1280×1024, 1280×720, 1024×768; Display Split 1/4/9/16; Recording Compression H.264 Version 3 / MJPEG Resolution 1080P(1920×1080) / 720p; Bit Rate 48~ 8192kbps ; Record Mode Manual, Schedule(Regular(Continuous), MD, Alarm), Video Detection & Alarm - Video Detection Motion Detection, MD Zones: 396(22×18), Video Loss & Camera Blank; Alarm Input 16 channel; Relay Output 4 channel; Playback & Backup - Sync Playback 1/4; Search Mode Time/Date, Alarm, MD; Motion detection with simultaneous search options; , Digital zoom; Backup Mode USB Device / Network; Network - Ethernet RJ-45 port (1000M); Network Function HTTP, TCP/IP, IPv4/IPv6, UPNP, RTSP, UDP, SMTP, NTP, DHCP, DNS, IP Filter, PPPOE, DDNS, FTP, Alarm Server, IP Search(Support IP camera, DVR, NVS and etc.) ;Max. User Access 20 users Storage; Internal HDD 8 SATA ports; Auxiliary Interface - USB 2 ports USB2.0; RS232 1 port, For PC communication & Keyboard; RS485 1 port, For PTZ control ; General; Power Supply AC220V/110V/ATX; Power Consumption 20W(without HDD) Working Environment -10 ~+55°C / 10~90%RH / 86~106kpa; Dimension (W×D×H) to fit into a 2U Rack; CE, FCC, EMC & ROHS Certificition and UL certification for Core Adaptor are mandatory; and ONVIF Complaint and support multicast
2 | NR08002 | 8 CHANNEL NVR | 8-CH NVR | Yes | 8ch 1080P IP cameras inputs; Supports recording at Full Resolution & high quality at highest bit rate for all channels at a time; Should support Multicast; H.264 Version 3/MJPEG dual codec decoding ; 1/1ch Mic in/out;4ch sync realtime playback; HDMI,VGA output up to 1080p,1 BNC output; 8 ch alarm in & 4ch relay out,RS485 ; 8 SATA and each support up to 4 TB, 2 USB,RJ45(1000M) ; Power - AC220V/110V/ATX ; Main Processor Dual-core embedded processor; Operating System Embedded LINUX; Video & Audio; IP Camera Input 8 channel; Two-way Talk 1 channel Input, 1 channel Output ; Display Interface 1 HDMI, 1 VGA, 1TV; Resolution 1920×1080, 1280×1024, 1280×720, 1024×768; Display Split 1/4/; Recording Compression H.264 Version 3 / MJPEG Resolution 1080P(1920×1080) / 720p; Bit Rate 48~ 8192kbps ; Record Mode Manual, Schedule(Regular(Continuous), MD, Alarm), Video Detection & Alarm - Video Detection Motion Detection, MD Zones: 396(22×18), Video Loss & Camera Blank; Alarm Input 4 channel; Relay Output 2 channel; Playback & Backup - Sync Playback 1/4; Search Mode Time/Date, Alarm, MD; Motion detection with simultaneous search options; , Digital zoom; Backup Mode USB Device / Network; Network - Ethernet RJ-45 port (1000M); Network Function HTTP, TCP/IP, IPv4/IPv6, UPNP, RTSP, UDP, SMTP, NTP, DHCP, DNS, IP Filter, PPPOE, DDNS, FTP, Alarm Server, IP Search(Support IP camera, DVR, NVS and etc.) ;Max. User Access 20 users Storage; Internal HDD 8 SATA ports; Auxiliary Interface - USB 2 ports USB2.0; RS232 1 port, For PC communication & Keyboard; RS485 1 port, For PTZ control ; General; Power Supply AC220V/110V/ATX; Power Consumption 20W(without HDD) Working Environment -10 ~+55°C / 10~90%RH / 86~106kpa; Dimension (W×D×H) to fit into a 2U Rack; CE, FCC, EMC & ROHS Certificition and UL certification for Core Adaptor are mandatory; and ONVIF Complaint and support multicast
3 | NR04003 | 4 CHANNEL NVR | 4-CH NVR | Yes | 4ch 1080P IP cameras inputs; Supports recording at Full Resolution & high quality at highest bit rate for all channels at a time; Should support Multicast; H.264 Version 3/MJPEG dual codec decoding ; 1/1ch Mic in/out;4ch sync realtime playback; HDMI,VGA output up to 1080p,1 BNC output; 16ch alarm in & 4ch relay out,RS485 ; 2 SATA and each support up to 4 TB, 2 USB,RJ45(1000M) ; Power - AC220V/110V/ATX ; Main Processor Dual-core embedded processor; Operating System Embedded LINUX; Video & Audio; IP Camera Input 4 channel; Two-way Talk 1 channel Input, 1 channel Output ; Display Interface 1 HDMI, 1 VGA, 1TV; Resolution 1920×1080, 1280×1024, 1280×720, 1024×768; Display Split 1/4/; Recording Compression H.264 Version 3 / MJPEG Resolution 1080P(1920×1080) / 720p; Bit Rate 48~ 8192kbps ; Record Mode Manual, Schedule(Regular(Continuous), MD, Alarm), Video Detection & Alarm - Video Detection Motion Detection, MD Zones: 396(22×18), Video Loss & Camera Blank; Alarm Input 2 channel; Relay Output 1 channel; Playback & Backup - Sync Playback 1/4; Search Mode Time/Date, Alarm, MD; Motion detection with simultaneous search options; , Digital zoom; Backup Mode USB Device / Network; Network - Ethernet RJ-45 port (1000M); Network Function HTTP, TCP/IP, IPv4/IPv6, UPNP, RTSP, UDP, SMTP, NTP, DHCP, DNS, IP Filter, PPPOE, DDNS, FTP, Alarm Server, IP Search(Support IP camera, DVR, NVS and etc.) ;Max. User Access 20 users Storage; Internal HDD 8 SATA ports; Auxiliary Interface - USB 2 ports USB2.0; RS232 1 port, For PC communication & Keyboard; RS485 1 port, For PTZ control ; General; Power Supply AC220V/110V/ATX; Power Consumption 20W(without HDD) Working Environment -10 ~+55°C / 10~90%RH / 86~106kpa; Dimension (W×D×H) to fit into a 2U Rack; CE, FCC, EMC & ROHS Certificition and UL certification for Core Adaptor are mandatory; and ONVIF Complaint and support multicast
4 | NRSW001 | NVR Client SOFTWARE | CMS | No | NVR Software supports upto 256 -channels; Continuous/Manual/schedule recording; supports multi streaming/casting live & recording option; Should Support all channels at full resolution 1080p. Integrates with any VMS support
5 | DSKA003 | Desktop CPU | DESKTOP | Yes | Intel Core i5/i7 processor, 8GB RAM DDR3 memory scalable upto 32 GM, ECC memory modules support; min. 250GM 7200RPM HDD, NVIDIA Quadro 1GB Graphics card suitable to load multiple NVRs, USB Keyboard, USB Optical mouse, Onboard gigabit Ethernet, Min. 2 Nos. of PCI slots including 1 PCIe 3.0 x16, PCI3 2.0x16, min. 4USB2 ports, one Ethernet RJ-45 port, preloaded with licensed windows 7 pro, 90% engergy efficient EPEAT Gold certified power supply, UL, Energy star certification
6 | MNTR001 | LED Monitor | MONITOR | Yes | Around 40" LED Monitor (based on OEM offering), 1920x1080 resolution, 5000:1(Native) and 100000:1 (Dynamic) contrast ratio, HDMI In, DVI In, VGA In, Component/ Composite, RS232C IN, Bright sensor , required accessories namely corrsion free brackets for wall mount, cables for HDMI, DVI of min. 15 mtrs length
7 | SWPE001 | 24P UTP + 2P Fibre POE Switch | 24P POE SWITCH | Yes | 24-Port PoE Switch with 24 UTP ports and 4 Mini GBIC Slot with Multicast feature 1GMP v1, v2, v3 snooping with 2K IGMP groups monitoring and port mirroring
8 | SWPE002 | 4P UTP + 2P Fibre POE Switch | 4P POE SWITCH | Yes | 4-Port PoE Switch with 4 UTP Ports and 2 Mini GBIC slot with multicast feature 1GMP v1, v2, v3 snooping with 2K IGMP groups monitoring and port mirroring
9 | SWPE003 | 8P UTP + 2P Fibre POE Switch | 8P POE SWITCH | Yes | 8-Port PoE Switch with 8 UTP Ports and 2 Mini GBIC slot with multicast feature 1GMP v1, v2, v3 snooping with 2K IGMP groups monitoring and port mirroring
10 | SW04001 | 4P UTP Switch (W/O POE) | 4P WITHOUT POE SWITCH | Yes | 4 UTP Port Switch without PoE and Fiber slot 1GMP v1, v2, v3 snooping with 2K IGMP groups monitoring and port mirroring
11 | SW08001 | 8P UTP Switch (W/O POE) | 8P WITHOUT POE SWITCH | Yes | 8 UTP Port Switch without PoE and Fiber slot 1GMP v1, v2, v3 snooping with 2K IGMP groups monitoring and port mirroring
12 | SWIG001 | 4P UTP + 2P Fibre IG POE Switch | 4P COMBO IG SWITCH | Yes | 4-Port PoE Switch with 4 UTP Ports and 2 Mini GBIC slot for outdoor installation with multicast feature
13 | SWIG002 | 8P UTP + 2P Fibre IG POE Switch | 8P COMBO IG SWITCH | Yes | 8-Port PoE Switch with 8 UTP Ports with 2 Mini GBIC slot for outdoor installation with multicast feature
14 | SWIG003 | 8P UTP + 4P Fibre Combo IG POE Switch | 8P+4P COMBO IG SWITCH | Yes | 8-Port PoE Switch with 8 UTP Ports and 4 Fiber combo Mini GBIC slot for outdoor installation with multicast feature
15 | SWIG004 | 4P IG Switch | 4P IG SWITCH | Yes | 4-Port UTP port for outdoor installation with multicast feature
16 | FBRMDL1 | Mini GBIC / SFC Module | GBIC / SFC MODULE | No | Mini GBIC Module of same make of PoE Switch
17 | FBRFOP1 | Fiber Optic Pigtails | PIGTAILS | No | Fiber Optic Pigtails
18 | RK6U001 | Rack 6U 19" Size | RACK 6U | No | 19" standard EIA/NEMA rails; 32" max. equipment depth; ultra quiet with noise reduction; airflow fans with adjustable height legs (4); fully adjustable mouting rails;
19 | JBFC001 | Junction Box | JUNCTION BOX | No | Junction Box at Camera location - Suitable for outdoor environment; weather proof; built-in fan with cross ventilation; JB purpose to commission network switch; UPS; fiber termination and other items as required at the camera location.
20 | UPSFC1 | Power Backup | UPS | Yes | 650 W UPS with 4 hours backup time; AC Input Voltage Rating : 160 - 270 V; Output Wave Form : Pure Sine Wave; AC Output Voltage - 230 V ± 5% 50 Hz; Sealed battery Maintenance free; Operating Temp : 0 to 50oC; LED Indicators for Low battery, Overload, Mains & Backup; Protection : Overload, Output short-circuits, over/under voltage protection, Safety backed with MCB's and fuses
21 |  | ODM/OEM Requirement |  | No | OEM/ODM should have own R&D lab with all supported infrastructure, letter from respective OEM/ODM to be submitted confirming the same and live inspection shall be carried out if required by the Police Department. Product/product's manufactured by ODM/OEM should have been used for any one smart city project, certificate form respective smart city authority to be enclosed.
22 |  | PoE Switch Standards general specifications in addition to each of the above | SWITCH | Yes | 4/8/16/24 port 10/100/1000 BASE-TX, 2 100/1000SFP or 2 Combo 10/100/1000 BASE-T or 100/1000 SFP; store & forwarding switch scheme; full/half-duplex for fast ethernet; Ethernet speeds; IEEE 802.3?? standards; Green Technology; ONVIF; UL; CE; RoHS compliant; IEEE 802.3af, at Compliant; auto MDI/MDIX crossover; multicast support; Power budget for each switch model should be minimum of equation as = (no. of switch ports x max. watts per IEEE 802.3af PoE Switch + 25% extra)
23 |  | Industrial PoE Switch General Specifications in addition to each of the above | IG SWITCH | Yes | PoE+Port compliant with IEEE 802.3af/at; combo ports for high bandwidth communication; operating temperature range from -40 to 75 deg C and storage temperature from -40 to 85 deg C; IEEE 802.1 & IEEE 802.3??; IGMP v1/v2, GMRP, GVRP, SNMPv1/v2c/v3, DHCP Server/Client, BootP, TFTP, SNTP, SMTP, RARP, RMON, HTTP, HTTPS,Telnet, SSH, Syslog, DHCP Option 66/67/82, EtherNet/IP, Modbus/TCP, LLDP, IEEE 1588 PTP V2, IPv6, NTP Server/Client;Fast Ethernet or PoE 10/100 Base T(x) slots
24 | Warranty | GENERAL NOTE | Warranty |  | All AMC equipment / Component carry 60 months warranty

## Annex-6 - Items Bid Proposal
BID PROPOSAL FOR CCTV SYSTEM - SUPPLY ITEMS / COMPONENTS
Annexure - 6
# | SUPPLY ITEM DESCRIPTION | ITEM CODE | REFERENCE TO SPECS | UNIT | UNIT RATE | SALES TAX % | I & C CHARGES | SERVICE TAX % | BASE RATE CALCULATED | AMC AMOUNT CALCULATED PA | Remarks
1 | IP Fixed Bullet Camera Motorized Vari-focal | CAMF001 | Ref Annexure-5 Camera Spec | Nos |  |  |  |  | 0 | 0
2 | IP Fixed Bullet Camera without Motorized Vari-focal | CAMF002 | Ref Annexure-5 Camera Spec | Nos |  |  |  |  | 0 | 0
3 | IP PTZ Dome Camera | CAMP001 | Ref Annexure-5 Camera Spec | Nos |  |  |  |  | 0 | 0
4 | 16-Channel NVR | NR16001 | Ref Annexure-5a Component Spec S.No. 1 | Nos |  |  |  |  | 0 | 0
5 | 8-Channel NVR | NR08002 | Ref Annexure-5a Component Spec S.No. 2 | Nos |  |  |  |  | 0 | 0
6 | 4-Channel NVR | NR04003 | Ref Annexure-5a Component Spec S.No. 3 | Nos |  |  |  |  | 0 | 0
7 | NVR VMS / CMS software | NRSW001 | Ref Annexure-5a Component Spec S.No. 4 | Nos |  |  |  |  | 0 | 0
8 | Desktop | DSKA003 | Ref Annexure-5a Component Spec S.No. 5 | Nos |  |  |  |  | 0 | 0
9 | Monitor | MNTR001 | Ref Annexure-5a Component Spec S.No. 6 | Nos |  |  |  |  | 0 | 0
10 | 24-Port PoE Combo Switch | SWPE001 | Ref Annexure-5a Component Spec S.No. 7 | Nos |  |  |  |  | 0 | 0
11 | 4-Port PoE Combo Switch | SWPE002 | Ref Annexure-5a Component Spec S.No. 8 | Nos |  |  |  |  | 0 | 0
12 | 8-Port PoE Combo Switch | SWPE003 | Ref Annexure-5a Component Spec S.No. 9 | Nos |  |  |  |  | 0 | 0
13 | 4-Port without PoE Switch | SW04001 | Ref Annexure-5a Component Spec S.No. 10 | Nos |  |  |  |  | 0 | 0
14 | 8-Port without PoE Switch | SW08001 | Ref Annexure-5a Component Spec S.No. 11 | Nos |  |  |  |  | 0 | 0
15 | 4-Port Industrial Grade PoE Combo Switch | SWIG001 | Ref Annexure-5a Component Spec S.No. 12 | Nos |  |  |  |  | 0 | 0
16 | 8-Port Industrial Grade PoE Combo Switch | SWIG002 | Ref Annexure-5a Component Spec S.No. 13 | Nos |  |  |  |  | 0 | 0
17 | 8-Port + 4 Fiber port Industrial Grade PoE Combo Switch | SWIG003 | Ref Annexure-5a Component Spec S.No. 14 | Nos |  |  |  |  | 0 | 0
18 | 4-Port Industrial Grade Switch | SWIG004 | Ref Annexure-5a Component Spec S.No. 15 | Nos |  |  |  |  | 0 | 0
19 | Mini GBIC Module of same make of PoE Switch | FBRMDL1 | Ref Annexure-5a Component Spec S.No. 16 | Nos |  |  |  |  | 0 | 0
20 | Fiber Optic Pigtails | FBRFOP1 | Ref Annexure-5a Component Spec S.No. 17 | Nos |  |  |  |  | 0 | 0
21 | Rack 6U 19" size | RK6U001 | Ref Annexure-5a Component Spec S.No. 18 | Nos |  |  |  |  | 0 | 0
22 | Junction Box | JBFC001 | Ref Annexure-5a Component Spec S.No. 19 | Nos |  |  |  |  | 0 | 0
23 | UPS at field camera location | UPSFC1 | Ref Annexure-5a Component Spec S.No. 20 | Nos |  |  |  |  | 0 | 0
24 | CAT 6 UTP Cable | CAT6001 | Standard and Popular Make | Mtr |  |  |  |  | 0 | 0
25 | Single Mode 6 core Optic fiber cable | OFC0601 | Standard and Popular Make | Mtr |  |  |  |  | 0 | 0
26 | Single Mode 12 core Optice Fiber Cable | OFC1201 | Standard and Popular Make | Mtr |  |  |  |  | 0 | 0
27 | Fiber Patch Cable 1.5 m Length | FBRPTCH | Standard and Popular Make | Nos |  |  |  |  | 0 | 0
28 | Fiber Termination Box |  | Standard and Popular Make | Nos |  |  |  |  | 0 | 0
29 | 3C x 2.5 Sq. mm Flexible running thru HDD PVC Conduits | HDDPVC1 | Standard and Popular Make | Mtr |  |  |  |  | 0 | 0
30 | 25 MM CPV Conduit | PIPE001 | Ashirwad or equivalent | Mtr |  |  |  |  | 0 | 0
31 | 25 MM PVC Conduit | PIPE002 | Standard and Popular Make | Mtr |  |  |  |  | 0 | 0
32 | 25 MM MS Conduit | PIPE003 | Standard and Popular Make | Mtr |  |  |  |  | 0 | 0
33 | 25 MM GI Conduit | PIPE004 | Standard and Popular Make | Mtr |  |  |  |  | 0 | 0
34 | 3C x 2.5 Sq. mm Armoured Cable | ARMRDC | Standard and Popular Make | Mtr |  |  |  |  | 0 | 0
35 | 6 Mtr round pole with an option of 2 detachable cantelivers - Cantilevers to be fixed at the height between 5.3 & 5.5 mtr | POLECNT | Standard and Popular Make | Nos |  |  |  |  | 0 | 0
36 | Wall mount based cantilever with base plate fixed as per site conditions | WALLCNT | Standard and Popular Make | Nos |  |  |  |  | 0 | 0
SERVICE ITEMS BID PROPOSAL
# | SERVICE ITEM DESCRIPTION | ITEM CODE | REFERENCE TO SPECS | UNIT | UNIT RATE |  |  | SERVICE TAX % |  |  | Remarks
| Civil Works - Soft Surface Excavation |  |  | Mtr
| Civil Works - Hard Surface Excavation |  |  | Mtr
| Trenching |  |  | Mtr
| Splicing Cost per Core |  |  | Per Core
| Labor Charges per meter for all types of works |  |  | Day

## Annex-7 Technical Employees
ACTIVE EMPLOYEE DETAILS |  |  |  | ANNEXURE - 7
S No | TECHNICAL EMPLOYEE NAME | DATE OF JOINING | PAST EXPERIENCE PRIOR TO JOIN (YEARS) | ROLE IN COMMUNITY CCTV (FULL TIME / PART TIME) *
* NOTE: | Full Time : Employee involved in full time role in the Community CCTV Project and have direct responsibility of the project. Part Time : Employee involved part time in the Community CCTV Project as & when required. The employee does not have the direct responsibility of the project.

## Annex-8 Branch Offices
SERVICE CENTER OFFICE DETAILS | [8 empty] | ANNEXURE - 8
S No | BRANCH NAME | BRANCH ADDRESS | BRANCH CITY | BRANCH STATE | BRANCH PINCODE | CONTACT PERSON NAME | CONTACT MOBILE NOS | NO. OF TECHNICAL STAFF | ANY OTHER INFORMATION

## Annex-9 Pre-Bid enquiries
BIDDERS ENQUIRIES FOR PRE-BID MEETING | [6 empty] | ANNEXURE - 9
S No | BIDDERS COMPANY NAME | BIDDERS CONTACT NAME | SECTION NO | PAGE NO | CONTENT OF THE SECTION | CLARIFICATION REQUIRED | REMARKS